Supporting: LMFKB3006A Install fitted cabinets and components

# Practical demonstration checklist

Set out below is a brief checklist of the sorts of things your trainer will be looking for when you carry out the practical assessment tasks for this unit.

You will be asked to carry out on-site installations of kitchen or bathroom cabinets. Your trainer will need to see you carry out these activities over a period of time, to make sure that you are satisfying these ‘demonstration criteria’ consistently under different conditions.

| ### Demonstration criteria | ### YES |
| --- | --- |
| - Follows all company safety policies and procedures while at work and any additional site-specific policies while at the jobsite. |  |
| - Prepares the correct tools and equipment for the job to be undertaken, and checks that they are in good working order. |  |
| - Reads plans and other documents correctly, and uses them to determine the exact positioning and fixing requirements of the cabinets. |  |
| - Checks the cabinet measurements and makes adjustments to ensure they fit properly, including cutting access holes and scribing panels. |  |
| - Installs cabinets, ensuring they are level, plumb and correctly fitted. |  |
| - Fixes components correctly, such as legs, handles, latches, drawers. |  |
| - Installs built-in appliances correctly, or makes provision for them according to the plans and specifications |  |
| - Uses hand and power tools safely and efficiently. |  |
| - Cleans up work area when finished and disposes of rubbish in an approved way. |  |
| - Carries out a final inspection of the installation, checking alignments and tolerances to ensure that they meet the required standards |  |
| - Completes documentation accurately according to company requirements |  |