Supporting: MSAPMOPS101A Make measurements

# Practical demonstration checklist

Set out below is a brief checklist of the sorts of things your trainer will be looking for when you carry out the practical assessment tasks for this unit.

You will be asked to select a range of measuring devices or instruments that you use at work and demonstrate your ability to use each one competently. Your trainer will need to see you carry out these activities over a period of time, to make sure that you are satisfying these ‘demonstration criteria’ consistently under different conditions.

| ### Demonstration criteria | ### YES |
| --- | --- |
| - Describes the purpose of the measuring device and the units of measure it uses. |  |
| - Checks the device for faults and identifies the parts that are most prone to malfunction. |  |
| - Where required, checks that the device is correctly calibrated. |  |
| - Uses the device to measure a range of items and demonstrates the process of checking that the measurements are reliable and accurate. |  |
| - Explains any external factors that need to be taken into account, such as temperature, humidity, or changing conditions in the item being measured. |  |
| - Carries out any necessary calculations relating to the measurements taken. |  |
| - Records the results correctly, using the appropriate symbols and abbreviations. |  |
| - Describes the process of reporting faults and dealing with malfunctions. |  |